## Slide 1: EMG designs
Avinash Baskaran

## Slide 2: “Blank” sEMG sensor design
½” ⌀ Electrode pads
2” x 1” sensor housing
Copper traces exiting
via 6”-12” ribbon cable
1.2” electrode
distance

## Slide 3: 1. Signal Acquisition
Schematic:
1-1 Scale Model:
Electrode
1
Reference Electrode
Vss+
-
+
R
R
R
R
Vss-
V_acq
Electrode
2
Op amp

## Slide 4: 2. Amplification
V_acq
Schematic:
Scale Model:
-
+
R2
V_acq
Op amp
Vss+
Vss-
Electrode
1
Reference Electrode
Vss+
-
+
R
R
R
R
Vss-
V_acq
Electrode
2
Op amp
R

## Slide 5: 3. High-pass filter (20 Hz)
Schematic:
Scale Model:
Vss+
Op amp
Vss-
Vamp
R5
R5
Vfilt
C
V_acq
Electrode
1
Reference Electrode
Vss+
-
+
R
R
R
R
Vss-
Electrode
2
Op amp
-
+
R2
V_acq
Op amp
R
Vss+
Vss-

## Slide 6: 500% Scaled model
Delsys commercial EMG sensor (1” x 1.5” x 0.5”) shown for comparison